## Instructions
Novaryq — Equipment Maintenance Schedule & Log
HOW TO USE
1. On the "Maintenance Schedule" sheet, list every piece of equipment once. Yellow cells are inputs: equipment, area, task, service interval in days, last service date, and who owns it.
2. The sheet computes Next due, Days until due, and Status automatically. OVERDUE means the due date has passed; DUE SOON means it is due within 14 days.
3. When a service happens, update "Last service" on the schedule AND add one line to the "Maintenance Log" sheet (date, equipment, work done, in-house or vendor, cost).
4. The log sheet totals your maintenance spend and counts emergency call-outs (start the Work done text with "EMERGENCY") so you can compare planned service against emergency repairs at year end.
5. Sample rows are realistic examples — overwrite them with your own equipment and vendors. Add rows freely; on the schedule, fill the formulas down; the log summary counts rows 2–500.
NOTES
Intervals in the samples are common practice, not code. Hood cleaning, fire suppression and anything involving gas, refrigerant or electrical work have requirements set by your local codes, insurer and equipment manuals — verify yours.
From the team at Novaryq (novaryq.com) — free to use and share.

## Maintenance Schedule
Equipment | Area / station | Service task | Interval (days) | Last service | Next due | Days until due | Status | Owner / vendor | Notes | SUMMARY
Walk-in cooler | BOH | Condenser coil cleaning + gasket check | 30 | 2026-09-07 |  |  |  | In-house (manager) | Vacuum coils, check door seal | Overdue
Walk-in freezer | BOH | Condenser coil cleaning + drain line check | 30 | 2026-08-24 |  |  |  | In-house (manager) |  | Due within 14 days
Fryer 1 & 2 | Line | Boil-out and deep clean | 7 | 2026-09-21 |  |  |  | Closing crew | Oil filtered daily | OK
Hood & duct system | Line | Professional hood/duct cleaning | 90 | 2026-07-15 |  |  |  | Hood-cleaning contractor | Keep certificate on file
Hood filters | Line | Run through dish machine | 7 | 2026-09-20 |  |  |  | Closing crew | Weekly minimum; more often over high-volume fryers
Fire suppression system | Kitchen | Certified inspection | 180 | 2026-05-02 |  |  |  | Fire-protection contractor | Tag posted at panel
Ice machine | Bar | Deep clean + sanitize water system | 90 | 2026-08-01 |  |  |  | Refrigeration / ice-machine tech
Dish machine | Dish pit | Descale + wash-arm jet check | 30 | 2026-09-02 |  |  |  | In-house (dish lead) | Check final-rinse temp
Convection oven | Line | Thermostat calibration check | 30 | 2026-09-10 |  |  |  | In-house (manager) | Use probe thermometer
HVAC / rooftop unit | Building | Professional service + filter change | 90 | 2026-06-28 |  |  |  | HVAC contractor
Espresso machine | FOH | Backflush + group gasket service | 30 | 2026-09-14 |  |  |  | In-house (bar lead)
POS terminals & printers | FOH | Clean print heads, test spares | 90 | 2026-07-20 |  |  |  | In-house (manager) | Spare paper + printer on shelf
Formulas:
Days until due = IF([Next due]="","",[Next due]-TODAY())
Status = IF([Next due]="","",IF([Next due]<TODAY(),"OVERDUE",IF([Next due]-TODAY()<=14,"DUE SOON","OK")))

## Maintenance Log
Date | Equipment | Work done | In-house or vendor | Cost | Notes | SUMMARY
2026-09-21 | Fryer 1 & 2 | Weekly boil-out | In-house | 0 |  | Total spend
2026-09-07 | Walk-in cooler | Coil cleaning, replaced door gasket | In-house | 42.5 | Gasket part only | Events logged
2026-08-01 | Ice machine | Quarterly deep clean + sanitize | Refrigeration / ice-machine tech | 295 |  | Emergency events
2026-07-15 | Hood & duct system | Quarterly professional cleaning | Hood-cleaning contractor | 680 | Certificate filed
2026-07-02 | Dish machine | EMERGENCY: wash pump failed mid-service | Emergency repair vendor | 940 | After-hours call-out